Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EE2001 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ELECTRIC CIRCUITS AND NETWORKS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Find the current through 3Ω resistor, and the current supplied by the 7 V source by mesh analysis. | CO1 | 15 |
|  | b. | Find the unknown currents using KCL. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | How much voltage is dropped across R3 in the given circuit? | CO1 | 5 |
|  | b. | Find the current flow through 2ῼ resistance by nodal analysis | CO1 | 15 |
| 3. | a. | Find the value of RL for maximum power transferred in the circuit shown in Fig and also find maximum power delivered to the load in the circuit. | CO1 | # 15 |
|  | b. | State and illustrate Millman’s theorem. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | For the circuit shown in figure, find the current through the resistance R connected between points a and b by Thevenin’s theorem. | CO1 | # 15 |
|  | b. | State and illustrate superposition theorem. | CO1 | 5 |
| 5. | a. | Find the resonant frequency , Band width and Quality factor for the ideal series RLC circuit having R=10ῼ, L = 50 mH, C = 0.01 μF and Supply voltage V = 10 V. | CO2 | 5 |
|  | b. | A series combination of 3 ohm resistance and a 796.18μF capacitor in each branch forms a three phase star connected balanced load which is connected to a 415V,3-phase,50Hz Ac supply. Calculate (i)the power consumed (ii)current drawn by the load .If the same load is now connected as a delta ,determine (i)the power consumed (ii)current drawn by the load. | CO2 | # 15 |
| (OR) |  |  |  |  |
| 6. | a. | The two wattmeter method is used to measure power in a three-phase load. The wattmeter readings are 400 W and -35 W. Calculate power factor. | CO2 | # 8 |
|  | b. | Derive an expression to find the output current, voltage and amplification factor of a single tuned coupled circuit. | CO2 | # 12 |
| 7. |  | In the figure, the switch K is closed at position 1 at t = 0.Assuming no initial current through inductor, find current at t=0.3sec.Find instant of time at which voltage across R equals voltage across L. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. |  | # Derive the transient expression of Sinusoidal input of series RC circuits using Laplace Transform Analysis | CO2 | # 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Obtain the impedance parameters of the network shown in figure. | CO3 | 15 |
|  | b. | Design a constant K low pass filter(T-section) having a cut off frequency of 2 kHz to operate with a terminated load resistance of 500 ohm. | CO3 | 5 |