Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EE2023 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # POWER SYSTEM OPERATION AND CONTROL | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Briefly discuss the classification of loads and list out the important characteristics of various types of loads. | CO1 | 10 |
|  | b. | Draw and explain the basic P-f and Q-V control loops | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Briefly explain Real power and Reactive Power improvement methods | CO1 | 10 |
|  | b. | Why the frequency and voltage are to be regulated in power system? | CO1 | 5 |
|  | c. | Mention the objective of power system control? | CO1 | 5 |
| 3. | a. | Derive the transfer function of an uncontrolled load frequency control of a single area system and derive the expression for static error following a step load change | CO1 | 15 |
|  | b. | Define speed regulation. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Derive the transfer function of an uncontrolled load frequency control of a Two area system and derive the expression for static error following a step load change | CO1 | 15 |
|  | b. | What is the purpose of a speed changer? | CO1 | 5 |
| 5. | a. | Develop the block diagram of AVR and obtain its transfer function | CO1 | 15 |
|  | b. | Bring up the different types of Excitation system. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Give outlines of static analysis of AVR. | CO1 | 10 |
|  | b. | Two identical 60MW synchronous machine operating in parallel, governor setting on the machine such that, it is considered as they have 4% and 3% droops. Determine the load taken by each machines for the load of 100MW. | CO1 | 10 |
| 7. | a. | With an example, explain the four operating states of a power system in the security perspective with an example | CO2 | 10 |
|  | b. | # What are the main functions of Energy control centers? Explain. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | With a neat block diagram explain the SCADA hardware configuration. | CO2 | 15 |
|  | b. | Converse the role of security monitoring and control in power systems? | CO2 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | Derive the coordination equations for ED considering transmission losses. | CO3 | 5 |
|  | b. | The fuel cost characteristics of three power plants are given by F1=0.0412P12+7.21P1+510 Rs/hr ,F2=0.0194P22+7.85P2+310 Rs/hr F3=0.0480P32+7.97P3+200 Rs/hr, Find the ED schedule and the total fuel cost for a demand of 1250MW. | CO3 | 15 |