Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 14EE2028 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | BUILDING AUTOMATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Summarize the features, working principle, types and applications of actuators used in building automation system. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Distinguish the closed loop and open loop control system. | CO1 | 5 |
|  | b. | Discuss the features, characteristics and drawbacks of building automation system. | CO1 | 15 |
| 3. | a. | # Illustrate the power quality issues and its effect on energy consumption. | CO3 | 10 |
|  | b. | Enumerate the importance of energy saving. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | List the features of automatic energy meter reading (AMR) system and also discuss the various functions of AMR. | CO3 | 15 |
|  | b. | Recommend few energy conservation approaches. | CO3 | 5 |
| 5. | a. | Summarize the different types of fire detectors and its working principle with suitable diagram. | CO2 | 10 |
|  | b. | List the different fire behavior indicators. How will you react based on the different indicators? | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the concept of video management. Elaborate on CCTV basics, digital video recording and its special features. | CO2 | 15 |
|  | b. | Label the indoor elements of video door phone. | CO2 | 5 |
| 7. | a. | Analyse the complete integrated security system of a building. | CO2 | 10 |
|  | b. | Briefly write about the implementation of a security system for a building using the different biometric features of a human body. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss the various benefits of integrated systems and the challenges faced? | CO2 | 10 |
|  | b. | Interpret the following: i. Safety system ii. Security system | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. |  | Apply the advanced techniques and make a layout of complete BAS for a highly secure and valuable building. | CO1 | 20 |