Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 14EE2028 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | BUILDING AUTOMATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Summarize the features, characteristics and drawbacks of building automation system. | CO1 | 15 |
|  | b. | Define building and mention the different types of building | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. |  | Mention the role of actuators in building automation system. Also, discuss the various type of actuators. | CO1 | 20 |
| 3. | a. | Discuss about the primary components of auto meter reading system. | CO3 | 10 |
|  | b. | Enumerate the importance of earthing in a building. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Proposefew energy conservation approaches. | CO3 | 15 |
|  | b. | Develop an energy management system for a domestic building and discuss the requirement of same in building automation. | CO3 | 5 |
| 5. | a. | Summarize the different types of fire detectors and its working principle with suitable diagram. Choose the correct fire extinguisher for different types of fire. | CO2 | 10 |
|  | b. | List the different stages of fire. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the operation and the features of video door phone. | CO2 | 15 |
|  | b. | List the processes handled by HVAC system. | CO2 | 5 |
| 7. |  | Explain the concept of video management. Elaborate on CCTV basics, digital video recording and its special features. | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | What are the benefits of integrated systems and the challenges faced? | CO1 | 10 |
|  | b. | Discuss the complete lighting management system of a building. | CO1 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss the complete integrated security system of a building. | CO2 | 15 |
|  | b. | List the need of using building automation system. | CO2 | 5 |