Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 14EI2001 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | SENSORS AND TRANSDUCERS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Draw the functional block diagram of a generalized measurement system and explain the function of each block with an example. | CO1 | 10 |
|  | b. | List the types of errors in measurement and write a note on the error handling methods. | CO2 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Classify the instruments based on various factors and give a brief account of each type. | CO1 | 10 |
|  | b. | What are static and dynamic characteristics? Explain their significance in sensor selection and application. | CO2 | 10 |
| 3. | a. | Explain how a resistive potentiometer can be used to measure linear and angular displacement with relevant diagrams. | CO1 | 15 |
|  | b. | Classify transducers and explain in detail about each type. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. |  | What is strain? Give its unit. Explain the principle of working of a strain gauge and the circuitry involved with necessary diagrams. | CO2 | 20 |
| 5. | a. | State Seebeck Effect. With neat diagrams, explain the principle, construction and working of Thermocouple. | CO2 | 15 |
|  | b. | State the principle of operation of Resistive Temperature Detector. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | What is cold junction compensation? With neat diagrams, explain the circuitry involved. | CO2 | 5 |
|  | b. | Illustrate how an LVDT is used to measure displacement with necessary diagrams and explanation. | CO2 | 15 |
| 7. | a. | Describe the principle of operation of Capacitive sensors for differential pressure measurement. | CO2 | 10 |
|  | b. | Draw the equivalent circuit of piezoelectric crystal. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Write a note on the construction, working and applications of Magnetostrictive Transducers. | CO3 | 10 |
|  | b. | Give a brief account of the application of optical shaft encoder. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | What is Hall Effect? With relevant diagrams, explain how it is used as a proximity sensor. | CO3 | 10 |
|  | b. | Write a note on the applications of Hall Effect transducers. | CO3 | 10 |