Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2003 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ELECTRICAL MEASUREMENTS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Discuss in detail about the different types of static characteristics of measurement instrumentation system. | CO1 | 12 |
|  | b. | Define the terms: resolution, sensitivity and expected value. | CO1 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss in detail the different types of systematic errors and the measures taken to minimize these errors. | CO1 | 12 |
|  | b. | The expected value of the current through a resistor is 20 mA. However, the measurement gives a value of 18mA. Calculate (i) absolute error. (ii) % error. (iii) relative accuracy, and (iv) % of accuracy. | CO1 | 8 |
| 3. | a. | Describe the role of damping torque in indicating instruments. Sketch the curves showing the different damping conditions. | CO1 | 10 |
|  | b. | Describe the construction and working of Galvanometer instrument. Derive its torque equation. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss in detail about the construction and working of Multirange Voltmeter. | CO1 | 10 |
|  | b. | Illustrate with a neat diagram, the principle of operation, construction and working of Moving Iron type instruments. | CO1 | 10 |
| 5. | a. | Draw and explain the working of Wheatstone bridge. Derive the condition for balance the bridge. | CO3 | 12 |
|  | b. | A capacitance comparision bridge (similar angle bridge) is used to measure a capacitive impedance at a frequency of 2kHz. The bridge constants at balance are C3=100µF, R1= 10 kΩ, R2= 50 kΩ, R3= 100 kΩ. Find the equivalent series circuit of the unknown impedance. | CO3 | 8 |
| (OR) |  |  |  |  |
| 6. | a. | For the unbalanced Wheatstone Bridge shown in figure Calculate the output voltage across points C and D and the value of resistor R4 required to balance the bridge circuit. | CO3 | 10 |
|  | b. | Describe how an unknown capacitance is measured with the help of D’Sauty’s bridge. | CO3 | 10 |
| 7. | a. | List the sources of errors in bridge circuit. | CO1 | 5 |
|  | b. | Discuss the working of Hay’s bridge for measurement of inductance. Derive the equations for balance. | CO3 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | Sketch the circuit of Kelvin double bridge, explain its operation and derive the equation for the unknown resistance. | CO3 | 15 |
|  | b. | Compare the Maxwell bridge and Anderson bridge. | CO3 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe the working of magnetic tape recorder with suitable diagram. | CO2 | 10 |
|  | b. | Discuss in detail about the construction and working of galvanometer type recorder with neat diagram. | CO2 | 10 |