Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2003 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ELECTRICAL MEASUREMENTS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | a. | Discuss in detail about the different types of dynamic characteristics of measurement instrumentation system. | CO1 | 15 |  |  |  |
|  | b. | The expected value of the voltage across a resistor is 80 V. However, the measurement gives a value of 79 V. Calculate (i) absolute error. (ii) % error. (iii) relative accuracy, and (iv) % of accuracy. | CO2 | 5 |  |  |  |
| (OR) |  |  |  |  |  |  |  |
| 2. | a. | A 2mA meter with an internal resistance of 100 Ω is to be converted to 0 – 150 mA ammeter. Calculate the value of the shunt resistance required. | CO2 | 5 |  |  |  |
|  | b. | Describe the construction and working of PMMC instrument. Derive its torque equation. | CO1 | 15 |  |  |  |
| 3. | a. | Describe the working of Energy meter with its constructional diagram. | CO1 | 12 |  |  |  |
|  | b. | A voltmeter having a sensitivity of 1 kΩ/V is connected across an unkown resistance in series with a milliammeter reading 80 V on 150 V scale. When the milliammeter reads 10mA, calculate the (i) Apparent resistance of the unknown resistance, (ii) Actual resistance of the unknown resistance, (iii) Error due to the loading effect of the voltmeter. | CO2 | 8 |  |  |  |
| (OR) |  |  |  |  |  |  |  |
| 4. | a. | A basic d’arsonval Movement with an internal resistance of 50 Ω and a full scale deflection current of 2 mA is to be used as a mutirange voltmeter. Design the series string of multipliers to obtain the voltage ranges of 0-10 V, 0-50V, 0-100V, and 0-500V.The arrangement is shown in the following diagram. | CO2 | 10 |  |  |  |
|  | b. | Discuss in detail about the construction and working of Multirange ohmmeter. | CO1 | 10 |  |  |  |
| 5. | a. | Describe how an unknown inductance is measured with the help of Maxwell’s Inductance- Capacitance Bridge. Comment on its Q factor. Derive the bridge balance condition. | CO3 | 12 |  |  |  |
|  | b. | A Maxwell bridge is used to measure an inductive impedance bridge constants at balance are C1=0.01µf, R1= 470 kΩ, R2=5.1 kΩ, R3=100kΩ. Find Lx and Rx. | CO3 | 8 |  |  |  |
| (OR) |  |  |  |  |  |  |  |
| 6. | a. | Draw and explain the working of Wheatstone bridge. Derive the condition for balance the bridge. | CO3 | 10 |  |  |  |
|  | b. | # The value of an unknown capacitor is to be measured using a Schering bridge. If the values of the bridge capacitors and resistors are as shown below, what is the value of the unknown capacitor, C x, and its series resistance, R x?. Cs=1000 pf, C3= 10 pf, R3= 1 MΩ, R4= 1 kΩ. | CO2 | 10 |  |  |  |
| 7. | a. | Sketch the circuit diagram of Anderson’s bridge. Derive the equations for resistive and inductive components of the inductor to be measured. | CO3 | 15 |  |  |  |
|  | b. | Mention the limitations of Wheatstone’s bridge. | CO3 | 5 |  |  |  |
| (OR) |  |  |  |  |  |  |  |
| 8. | a. | Describe the working of Wien’s Bridge Circuit and derives the expression for the unknown element at balance. | CO3 | 10 |  |  |  |
|  | b. | Describe the functioning of a basic type of strip chart recorder. Explain the different types of marking mechanisms used in it. | CO1 | 10 |  |  |  |
|  |  | Compulsory: |  |  |  |  |  |
| 9. | a. | Discuss in detail about the working of an XY recorder with suitable circuit diagram and mention the applications. | CO1 | 15 |  |  |  |
|  | b. | Write the types of data recorders. | CO1 | 5 |  |  |  |