Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2008 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INDUSTRIAL INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Investigate the different steps to be followed during calibration of a pressure transmitter with suitable example. | CO1 | 10 |
|  | b. | Explain how the temperature can be converted into electrical voltage in thermistor. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate the different types of manometers? Explain the working of any two of them with the neat sketch. | CO3 | 10 |
|  | b. | Draw a neat sketch to show the essential parts of a bourdon tube pressure gauge. Describe the purpose of each part. What are the two types of adjustment done in a bourdon tube gauge? | CO2 | 10 |
| 3. | a. | Investigate the different types of diaphragm pressure transducers? Explain with a neat sketch. | CO2 | 14 |
|  | b. | With neat sketch explain the operating principle of Optical Pyrometer. | CO3 | 6 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the principle and operation of Bimetallic Thermometer with neat sketches. | CO2 | 10 |
|  | b. | Describe with the help of a diagram, the construction and working of a thermocouple type pyrometer. | CO1 | 10 |
| 5. | a. | Summarize the operating principle of electromagnetic flow meters. | CO3 | 10 |
|  | b. | With the neat sketch explain the operating principle of Optical Pyrometer. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the working, construction, advantages and disadvantages of a resistance thermometer. | CO1 | 10 |
|  | b. | With neat sketch explain the operating principle of dead weight tester. | CO2 | 10 |
| 7. | a. | State the working of time of reflection method of Ultrasonic level measurement with a neat sketch. | CO2 | 10 |
|  | b. | Explain the principle and operations of air purge system. Discuss its merits and demerits. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the concept of pressure gauge method in level measurement. | CO3 | 10 |
|  | b. | Describe with a neat sketch the construction and working of a radiation level indicator. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe with neat sketch the construction and working of magnetic method of density measurement. | CO1 | 10 |
|  | b. | Outline with neat sketch the construction and working of pycnometric densitometer. | CO3 | 10 |