Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2009 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # PROCESS DYNAMICS AND CONTROL | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | # Evaluate the transfer function H(s)/Q(s) for the Liquid level system shown in the following figure. Resistances R1 and R2 are linear. The flow rate from tank 3 is maintained constant at b by means of a pump; i.e., the flow rate from tank 3 is independent of head h. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Derive the Mathematical model of the two tank Interacting liquid level system. | CO1 | 16 |
|  | b. | Express the need of mathematical modeling. | CO1 | 4 |
| 3. |  | With the given values Kp=5, KI = 1.0 s-1 and pI(0) = 20%, Design the PI Controller for the error as shown in figure below. | CO2 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | Illustrate the working of Discontinuous Controllers in detail with necessary graphs. | CO2 | 15 |
|  | b. | Describe the concept of Anti Reset Windup. | CO2 | 5 |
| 5. | a. | Write short notes on Controller tuning. | CO2 | 5 |
|  | b. | Demonstrate the controller tuning procedure and rules of Ziegler-Nichols method. | CO2 | 15 |
| (OR) |  |  |  |  |
| 6. | a. | Discuss about the Open loop method of controller tuning. | CO2 | 10 |
|  | b. | Describe the Time-integral performance criteria with necessary formulae. | CO2 | 10 |
| 7. |  | Summarise the use of final control elements and explain the working of different types of Air-filled Actuators. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | Sketch the basic diagram of Control Valve and explain its working in detail. Also classify the different types of Control valves. | CO3 | 10 |
|  | b. | Elaborate the working and need of valve positioner. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. |  | Show the working of various control configurations involved in distillation column with necessary diagrams. | CO3 | 20 |