Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2012 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # LOGIC AND DISTRIBUTED CONTROL SYSTEMS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe in detail about the building blocks of computer controlled systems | CO1 | 10 |
|  | b. | Discuss in detail about Data Acquisition system with a suitable example. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss the principle of operation of data loggers used in PLC with suitable diagrams. | CO1 | 15 |
|  | b. | List out the programming languages in PLC. | CO2 | 5 |
| 3. | a. | Discuss the principle of operation of analog input modules used in PLC with suitable diagrams. | CO2 | 10 |
|  | b. | Describe about the latch used in PLC ladder logic with example. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss in detail about the data flow during the scan process | CO1 | 10 |
|  | b. | Discuss the implementation of spray painting system with neat diagram | CO2 | 10 |
| 5. | a. | Design a ladder diagram for a Process used to control the level of water in a storage tank. | CO2 | 10 |
|  | b. | Describe in detail about the off delay timer with a suitable example. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Convert the following relay schematic into ladder diagram. | CO2 | 5 |
|  | b. | Design a ladder diagram for a Continuous bottle filling operation. | CO2 | 15 |
| 7. | a. | Describe in detail about the Sequencer Instruction with a suitable example. | CO2 | 10 |
|  | b. | With neat diagram, explain the following system architecture in cement plant. - Process Interface - Control system interface - Man-Machine Interface | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss in detail about the Logic and control unit in DCS. | CO3 | 10 |
|  | b. | Describe about the functions of low level engineering interfaces. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss the basic functions of DCS in thermal power plant with neat diagram. | CO3 | 15 |
|  | b. | Write down the application packages required for paper and pulp plant | CO3 | 5 |