Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2017 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BIOMEDICAL INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain in detail about basic structure of the cell and its functions. | CO1 | 10 |
|  | b. | Prioritize the various design considerations of medical instrumentation systems. | CO1 | 6 |
|  | c. | Sketch the block diagram of medical instrumentation system. | CO1 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate the method of measuring membrane potential and highlight the various stages of action potential response. | CO1 | 8 |
|  | b. | Discuss the various components involved for recording an ECG signal with neat diagram. | CO3 | 12 |
| 3. |  | Highlight the different methods of blood flow meter and its functions with neat diagram. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Analyze the instrument which is used for recording an EEG signal and point out the features of different wave patterns. | CO3 | 20 |
| 5. | a. | Outline the block diagram of electro surgical unit and discuss thevarious blocks involved in it. | CO3 | 10 |
|  | b. | Identify the various techniques used for measurement of cardiac output. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Differentiate internal and external pacemakers. | CO1 | 5 |
|  | b. | Narrate the working principle of Ventricular Asynchronous Pacemaker. | CO2 | 10 |
|  | c. | Classify various defibrillators based on the amount of voltage applied. | CO2 | 5 |
| 7. | a. | Summarise the operating principles of dialyser with block diagram. | CO1 | 12 |
|  | b. | Report the concept of nerve stimulators. |  | 8 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the working of a clinical flame photometer with suitable diagram. | CO3 | 10 |
|  | b. | Develop a block diagram of the system which is used for blood pH measurement. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. |  | Analyse the working principle of Computer Tomography with the help of block diagram and highlight the applications ofit. | CO3 | 20 |