Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2019 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ANALYTICAL INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the different types of optical filters and monochromators used in absorbtion instrument. | CO1 | 10 |
|  | b. | Explain apparent deviations from Beer Lamberts law. | CO1 | 5 |
|  | c. | Explain in brief the working principle of photomultipliers tube. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. |  | With help of neat diagrams explain the working of the following: a. Direct Reading Spectrophotometers. b. Microprocessor based Spectrophotometers. | CO1 | 20 |
| 3. |  | With a neat instrumentation setup, describe the principle of (IR) InfraRed, spectrophotometer and the various components involved in it. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | Describe the working of an analyser that can be used to estimate the content of carbon in gas. | CO2 | 14 |
|  | b. | What is the difference between atomic absorption and atomic emission spectroscopy. | CO2 | 6 |
| 5. | a. | What are non dispersive spectrophotometers? Explain in detail the FTIR spectrometer. Also specify the advantages of the FTIR spectrometer. | CO1 | 16 |
|  | b. | What are the various sources of inference used in atomic absorbtion. | CO2 | 4 |
| (OR) |  |  |  |  |
| 6. | a. | Classify the methods used for oxygen measurement. Explain any one. | CO2 | 10 |
|  | b. | With a neat diagram, explain the gas density analyser. | CO2 | 10 |
| 7. | a. | Explain with a schematic diagram the operation of double beam UV Spectrometer. | CO2 | 12 |
|  | b. | Compare and differentiate between Gas Chromotography and HPLC. | CO2 | 8 |
| (OR) |  |  |  |  |
| 8. | a. | List the different mountings in emission spectroscopy? Explain in brief. | CO3 | 10 |
|  | b. | Give the units of radioactivity, and explain half life period. | CO3 | 5 |
|  | c. | Discuss the salient features of scintillation counter. | CO3 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | When does nuclear magnetic resonance occur? Explain the working of NMR spectrometer with a schematic diagram. | CO3 | 12 |
|  | b. | Elaborate on the working principle of Gamma camera and explain, how signal processing is carried out in the camera. | CO3 | 8 |