Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2021 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INSTRUMENTATION AND CONTROL IN PAPER INDUSTRIES | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Elaborate on recausticizing process. | CO1 | 5 |
|  | b. | Discuss the operations involved in paper making. | CO1 | 15 |
| (OR) |  |  |  |  |
| 2. |  | Explain in detail the process involved in paper making with the process diagram. | CO1 | 20 |
| 3. | a. | List the various guidelines for selecting the flowmeter. | CO1 | 15 |
|  | b. | How is the solid flow measurement done in paper industry? | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. |  | Discuss in detail how the pH and oxidation reduction potential are measured and controlled in paper industry. | CO2 | 20 |
| 5. |  | Discuss in detail about the two different methods of basis weight control. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Explain in detail the process of White liquor flow control and condensate conductivity control. | CO2 | 20 |
| 7. |  | How is Graphical display different from Linear display? Discuss about them in detail. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Write short notes on a. Dissolving tank density Control. b. Dryer Temperature Control. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | What are the different types of control elements available in the industry? Write short notes on the types of control elements? | CO3 | 20 |