Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 14EI2023 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | OPTO-ELECTRONICS AND LASER BASED INSTRUMENTATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Compare twisted pair cables with fiber optic cables. | CO1 | 5 |
|  | b. | How is a photo diode modified as a PIN diode and RAPD diode which is used as detectors for Fiber optic transmission? | CO1 | 15 |
| (OR) |  |  |  |  |
| 2. | a. | Optical fibers are generally composed of silica, with an index of refraction around 2.11. How fast does light travel in a silica fiber? | CO1 | 5 |
|  | b. | Discuss in detail about the construction and working of surface emitting and edge emitting LED. | CO1 | 15 |
| 3. | a. | Differentiate step index and Graded Index fiber. | CO1 | 5 |
|  | b. | List the parameters that are modulated in a light signal proportional to the measured physical parameters. Discuss on these types of modulation. | CO1 | 15 |
| (OR) |  |  |  |  |
| 4. | a. | What is pumping in LASERS and how is it achieved? | CO1 | 5 |
|  | b. | Optical sensors are preferred for sensing in industries – Why? Detail on how to use these sensors for measuring Temperature, Level and Pressure. | CO1 | 15 |
| 5. | a. | Differentiate spontaneous emission and simultaneous emission. | CO2 | 5 |
|  | b. | How are LASERs classified based on the medium? Describe in detail a liquid dye type LASER. | CO2 | 15 |
| (OR) |  |  |  |  |
| 6. | a. | A typical LASER operates with a current of 7mA at a DC voltage of 250V and gives an optical output of 2mW. Calculate the overall power efficiency. | CO2 | 5 |
|  | b. | Discuss in detail about any one Gas type LASER. | CO2 | 15 |
| 7. |  | Explain the different types of LASER interaction with tissues. Also discuss in detail the application of LASER in medicine. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Elaborate on the application of LASER in Material Processing. | CO3 | 20 |
|  |  | Compulsory |  |  |
| 9. |  | What is holography? Explain in detail about the construction and reconstruction of hologram. | CO3 | 20 |