Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2040 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ULTRASONIC INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | List the characteristic parameters of sound waves. | CO1 | 10 |
|  | b. | Discuss the behavior of ultrasonic waves, when it is incident on a medium under reflection and transmission at normal incidence conditions. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Mention the different modes of ultrasonic waves and discuss the nature of vibrations and the wave propagation of the ultrasonic waves into the medium. | CO1 | 10 |
|  | b. | What are the prime factors responsible for the loss in intensity of ultrasonic waves? | CO1 | 10 |
| 3. | a. | Compare special features of piezoelectric materials. | CO1 | 10 |
|  | b. | Discuss the various types of sources of ultrasound. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Point out how the materials are choosen for the construction of transducers. | CO1 | 5 |
|  | b. | Mention the advantages and disadvantages of Quartz crystal as a transducer. | CO1 | 5 |
|  | c. | With advantages and disadvantages, discuss the working of laser ultrasound measurement system. | CO1 | 10 |
| 5. | a. | List the techniques used to measure the wavelength of ultrasonic waves using electrical method and explain any one technique in detail. | CO2 | 10 |
|  | b. | Justify the importance of ultrasound in the field of low frequency high intensity applications. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | With block diagram, describe sing-around method for measuring velocity and attenuation of ultrasound. | CO2 | 10 |
|  | b. | Discuss the importance of ultrasonic flowmeters in process control industries. | CO2 | 10 |
| 7. | a. | With advantages and disadvantages, describe ultrasonic non -destructive testing method. | CO3 | 10 |
|  | b. | Explain pulse echo ultrasonic method used for testing of materials. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Design an acoustic system for depth and sea level measurements. | CO3 | 10 |
|  | b. | Differentiate active and passive sonar. With block diagram, explain the working of echo sounder. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | List the features of the transducer for medical imaging. Explain the mechanically scanned probes. | CO3 | 10 |
|  | b. | Develop a block diagram to measure sound velocity in sea water with justification. | CO3 | 10 |