Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2041 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEASUREMENTS AND INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | With a help of a neat sketch, describe the construction and working of PMMC instrument.Mention the advantages and limitations. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. |  | Discuss the principle of operation and construction of Single-Phase Induction Type Energy Meter with neat diagram. | CO1 | 20 |
| 3. | a. | Illustrate how an unknown resistance is measured with the help of Kelvin’s double bride. | CO1 | 10 |
|  | b. | Describe how an unknown inductance is measured with the help of Maxwell’s Inductance Bridge. Derive the bridge balance condition | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. |  | Discuss the principle and working of different temperature sensors. Sketch their typical characteristics. | CO2 | 20 |
| 5. |  | Explain the circuit of RC phase shift oscillators. Describe how Barkhausen criteria are satisfied in this oscillator. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Describe in detail the circuit and working of an Monostable multivibrator. | CO2 | 20 |
| 7. |  | Give the block diagram of hetrodyne wave analyser and describe its working. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Give an overview of different digital display devices. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Describe the functioning of a basic type of X-Y recorder. Explain the different types of marking mechanisms used in it. | CO2 | 20 |