Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2041 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEASUREMENTS AND INSTRUMENTATION | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe the construction and working of PMMI (Permanent Magnet Moving Iron Instrument). Derive its torque equation. | CO1 | 10 |
|  | b. | Why is Damping Torque necessary in indicating instruments? Sketch the curves showing the different damping conditions. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Enumerate with a block diagram, the various systems involved in an Energy meter. | CO1 | 15 |
|  | b. | Mention the torque equation for Electrodynamometer type instruments. | CO1 | 5 |
| 3. | a. | Illustrate how an unknown capacitance is measured with the help of D’Sauty’s bridge. | CO1 | 10 |
|  | b. | Describe how an unknown inductance is measured with the help of Maxwell’s Inductance-Capacitance Bridge. Comment on its Q factor. Derive the bridge balance condition. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss the principle and working of different temperature sensors. Sketch their typical characteristics. | CO2 | 10 |
|  | b. | Give a brief note any one method used in speed measurement. | CO2 | 10 |
| 5. |  | Explain the circuit of RC phase shift oscillators. Describe how Barkhausen criteria are satisfied in this oscillator. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Describe in detail the circuit and working of an Astable multivibrator. | CO2 | 20 |
| 7. | a. | Give the block diagram of frequency selective wave analyser and describe its working. | CO2 | 15 |
|  | b. | Necessity of harmononic distortion analyzer. | CO2 | 5 |
| (OR) |  |  |  |  |
| 8. |  | Bring out the difference between light scattering and field effect types of LCDs with neat sketch. Mention the advantages of LCDs. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe the functioning of a basic type of strip chart recorder. Explain the different types of marking mechanisms used in it. | CO2 | 12 |
|  | b. | Enumerate with a block diagram, the various elements involved in a digital data acquisition system. | CO2 | 8 |