Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14EI2048 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INSTRUMENTATION AND CONTROL SYSTEMS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Sketch the fundamental measurement process and explain the generalized measurement system with example. | CO1 | 15 |
|  | b. | Write the reasons for having instruments calibrated. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Describe the construction and working of XY recorder. | CO1 | 15 |
|  | b. | How galvanometer can be converted into a voltmeter? | CO1 | 5 |
| 3. | a. | Explain briefly the construction and working of a Thermocouple. | CO1 | 15 |
|  | b. | Explain how the Wheatstone bridge circuit may be utilized for the measurement of temperature. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | With neat diagram explain the construction and working of Hotwire anemometer. | CO1 | 15 |
|  | b. | Explain the ultrasonic flow meter using the travel time difference method. | CO1 | 5 |
| 5. | a. | With relevant diagram explain the different types of strain gauge. | CO1 | 15 |
|  | b. | Define error and list the types of error. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Explain briefly the construction and working of load cell for measurement of pressure. | CO1 | 15 |
|  | b. | Explain briefly the integrating indicating with example. | CO1 | 5 |
| 7. | a. | The open loop transfer function of a unity feedback control system is given byG(s)=1s(1+s)(1+2s). Sketch the polar plot and determine the phase margin and gain margin. | CO3 | 15 |
|  | b. | Compare open loop and closed loop control system. | CO3 | 5 |
| (OR) |  |  |  |  |
| 8. | a. | Use Mason’s gain formula for determining the overall transfer function of the system show in Fig. | CO3 | 15 |
|  | b. | Describe the basic properties of signal flow graph. | CO3 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | Construct Routh array and determine the stability of the system represented by the characteristic equation, s6+2s5+8s4+12s3+20s2+16s+16=0. Comment on the location of the roots of characteristic equation. | CO2 | 15 |
|  | b. | Mention the necessary condition for stability? Explain the relation between stability and coefficient of characteristic polynomial. | CO2 | 5 |