Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14FP2011 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # REFRIGERATION, AIR CONDITIONING AND COLD STORAGE | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Illustrate with a neat sketch construction and working of a reciprocating compressor used in the Refrigeration system. | CO3 | 10 |
|  | b. | 100 kg of ice at -5 °C is placed in a bunker to cool some vegetables. 24 hours later ice has melted into water at 10°C. What is the average rate of cooling in kJ/h and Ton of refrigeration provided by ice? | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate with a neat sketch the working of vapor compression cycle. | CO2 | 8 |
|  | b. | Explain in detail about factors affecting COP of Refrigeration system. | CO2 | 8 |
|  | c. | Calculate the cooling load present in a walk-in chamber, caused by the heat evolution of 2000 kg of cabbage stored at 5°C. (heat evolution for cabbage at 5°C is 28–63 W/Mg). | CO2 | 4 |
| 3. | a. | Illustrate with a neat sketch construction and working of the following: - cryogenic freezers. - Fluidized bed freezer. | CO2 | 15 |
|  | b. | Find the properties of air with 30°C dry bulb temperature and 28.5 g water/kg dry air moisture content at 1 atm. | CO3 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | For reducing operating cost of dryer, a food dryer is being modified to reuse part of the exhaust air along with ambient air. The exhaust airflow of 10 m3/s at 70 °C and 30% relative humidity is mixed with 30 m3/s of ambient air at 30°C and 60% relative humidity. Using the psychrometric chart determine the dry bulb temperature and humidity ratio of the mixed air. | CO3 | 10 |
|  | b. | Write down the factors which affect factors which influence the rate of heat transfer during freezing of foods. | CO3 | 10 |
| 5. | a. | Explain the GMP and design considerations for chillers and food production systems. | CO2 | 10 |
|  | b. | Explain in details about HACCP. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain in detail about the following in construction of cold storage: - Segregation of work zones. - Factory site selection. - HCA. | CO1 | 15 |
|  | b. | Write a note on product contamination. | CO1 | 5 |
| 7. | a. | Describe in detail about types cold store panels. | CO2 | 10 |
|  | b. | Write a note on floor construction in cold storage. | CO1 | 10 |
| (OR) |  |  |  |  |
| 8. |  | Describe the steps involved in cold storage design in details with diagrams wherever necessary. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the Protocols for domestic, sea and air freight of chilled products. | CO2 | 10 |
|  | b. | Describe in detail about field chilling. | CO2 | 10 |