Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14ME2006 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # METROLOGYAND MEASUREMENT SYSTEMS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain in detail about the linear measurement with a neat sketch. | CO1 | 15 |
|  | b. | What are the different standards of measurements? | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate with a neat sketch of line standard and end standard measurements. | CO1 | 16 |
|  | b. | Distinguish between Precision and Accuracy. | CO1 | 4 |
| 3. | a. | Explain the uses of slip gauges, how slip gauges are manufactured and used in laboratories. | CO1 | 16 |
|  | b. | How to find the least count of a Micrometer. | CO1 | 4 |
| (OR) |  |  |  |  |
| 4. | a. | With a neat sketch explain the construction and working of Vernier height gauge and its use in linear measurements? | CO1 | 10 |
|  | b. | Explain mechanical comparator with a neat sketch | CO1 | 10 |
| 5. | a. | With a neat sketch explain the construction and working of aAutocollimator. | CO2 | 15 |
|  | b. | Explain how to find run out and concentricity in workpieces. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the tool makers microscope with a neat sketch | CO2 | 14 |
|  | b. | Explain any one method of straightness measurement | CO2 | 6 |
| 7. | a. | Describe the Parkinson gear tester and state its limitations | CO2 | 15 |
|  | b. | Illuminate the different types of errors in screw thread | CO2 | 5 |
| (OR) |  |  |  |  |
| 8. |  | Explain Screw threads terminology in detail. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Explain the Laser interferometer and Optical Interferometer with a neat sketch | CO2 | 20 |