Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14ME2006 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # METROLOGY AND MEASUREMENT SYSTEMS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Explain in detail, the different types of errors in measurement and their causes and remedies. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. |  | Define Calibration. Explain the standard procedure of calibrating a metrological instrument. | CO1 | 20 |
| 3. |  | With neat sketch explain the construction and working of micrometer. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | With neat sketch explain the construction and working principle of dial indicator. | CO1 | 15 |
|  | b. | Write the procedure for wringing of slip gauges | CO1 | 05 |
| 5. |  | Explain the construction and working principle of Autocollimator, with a neat sketch. | CO1 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the working principle of Tomlinson surface meter with a neat sketch. | CO2 | 15 |
|  | b. | What are the difference between primary texture and secondary texture? | CO2 | 05 |
| 7. |  | Explain the measurement of effective diameter of a screw thread using three wire method and derive an expression for the same. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Explain the construction and working details of Coordinate Measuring Machines. State its advantages and disadvantages. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Explain the construction and working principle of laser interferometer with neat diagram and explain its in angular measurement. | CO2 | 20 |