Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14ME2049 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # RENEWABLE ENERGY SOURCES | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Discuss the history of energy consumption pattern in India. | CO1 | 10 |
|  | b. | Describe the working principle of a pyrheliometer with a sketch. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss the various renewable energy sources in detail. | CO1 | 10 |
|  | b. | Describe the working principle of a pyranometer with a sketch. | CO1 | 10 |
| 3. | a. | What are the main components of a solar flat plate collector? Explain the function of each. | CO2 | 10 |
|  | b. | Explain the working principle of a solar chimney. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss the applications of solar energy. | CO3 | 10 |
|  | b. | Describe the working principle of a solar pond. | CO3 | 10 |
| 5. | a. | Explain the thermo chemical conversion process of biomass. | CO4 | 10 |
|  | b. | Discuss the factors affecting the biogas production. | CO4 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | What are the types of gasifier? Explain any one type? | CO4 | 10 |
|  | b. | Explain the working principle of a fixed dome type biogas plant. | CO4 | 10 |
| 7. | a. | Discuss various components of wind energy system. | CO5 | 10 |
|  | b. | Discuss the various applications of wind energy. | CO5 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Briefly explain the scenario of wind energy. | CO5 | 10 |
|  | b. | How can wind energy be estimated? Classify wind mills. | CO5 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | What are the different types of tidal power plants? Explain. | CO6 | 10 |
|  | b. | Describe the working principle of a fuel cell. | CO6 | 10 |