Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14NT2016 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # NANOMATERIALS FOR HEALTH CARE | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1 | a | Can methyl alcohol be used as a monomer in polymerisation reaction? Justify your answer? | CO3 | 3 |
|  | b. | Give an example for the use of metal as biomaterial in dental treatment from ancient days? | CO1 | 1 |
|  | c. | Explain the polymerisation mechanism in the preparation of polyvinyl chloride? | CO1, CO2 | 16 |
| (OR) |  |  |  |  |
| 2. | a. | Surface energy of polymeric materials are weaker than metals and ceramics, why? | CO2 | 4 |
|  | b. | What is condensation ploymerisation? | CO1 | 4 |
|  | c. | List the factors affecting the implant materials and explain them with example? | CO1, CO2 | 12 |
| 3 | a. | Define contact angle? How is it measured? What impact this measurement has on biocompatibility of biomaterials? | CO1 | 5 |
|  | b. | Discuss crystal imperfections and the corresponding property changes in crystals? | CO1, CO2 | 15 |
| (OR) |  |  |  |  |
| 4 | a. | Write the correlation between critical surface tension of polymeric materials and blood clotting time? | CO2 | 5 |
|  | b. | Discuss in detail the application of metal alloys in orthodontic and orthopaedic treatments? | CO1 | 15 |
| 5 | a. | Collagen is it a protein biopolymer or carbohydrate biopolymer? | CO3 | 2 |
|  | b. | What are metal alloys extensively used as implant materials? How stress and strain factors are studied in these metal alloys? | CO1 | 18 |
| (OR) |  |  |  |  |
| 6 | a. | Discuss the effect of corrosion on implant materials? | CO3 | 10 |
|  | b. | Ceramics used in orthodontic and orthopeadic treatments- discuss in detail. | CO1 | 10 |
| 7. | a. | What happens when elastin , collagen diminises in our body? | CO2 | 4 |
|  | b. | Write the application of polymers and metal alloys as Vascular implants; Cardiac pacemakers? | CO1 | 16 |
| (OR) |  |  |  |  |
| 8. | a. | What is IOL device? Which polymeric materials are used as IOL devices? | CO2 | 13 |
|  | b. | What do you mean by tissue engineering? Give the general process involved? | CO2 | 7 |
| 9. |  | Compulsory |  |  |
|  | a. | What are the three stools generally used for tissue engineering? Discuss the electrospinning process to change the overall scaffold architecture? | CO2, CO3 | 10 |
|  | b. | Write in detail on polymeric scaffold materials? (any three). | CO1 | 10 |