Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EE2005 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # TESTING AND INSTALLATION OF POWER SYSTEM APPARATUS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | # State the objectives and importance of safety management. | CO1 | 10 |
|  | b. | # Elaborate the seven principles of safety management. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Distinguish between primary shock and secondary shock. Assess a person who gets electric shock and the causes behind the severity of shock. | CO1 | 10 |
|  | b. | Recommend safety precautions against electric shocks in small buildings, shops and small LV installations. | CO1 | 10 |
| 3. | a. | Summarize the procedure and significance of temperature rise test and its correlation with rated normal current. | CO2 | 10 |
|  | b. | # Mention the various type of tests performed in an electrical equipment. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Elaborate on any two methods for testing continuity of a cable/conducting path with diagrams. | CO2 | 10 |
|  | b. | List down the steps taken to ensure safety in an electrical plant. | CO2 | 10 |
| 5. | a. | With a circuit diagram, explain the procedure and conditions of lightning/switching impulse test. | CO3 | 10 |
|  | b. | State the causes of disturbances in power quality and list the power quality improvement facilities for each variable of electric power supply. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Give the significance of ‘preventive maintenance and servicing’ of electric motors. Write guidelines for preventive maintenance. | CO3 | 10 |
|  | b. | Explain the procedure of high voltage tests on rotating machine with the help of a diagram. | CO3 | 10 |
| 7. | a. | Evaluate the various types of sub-stations for rated voltages of 12kV, 36kV, 66kV and above. | CO1 | 10 |
|  | b. | Justify the substations based on the voltage levels and configurations. | CO1 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the various commissioning test on a Power transformer. | CO1 | 10 |
|  | b. | Propose additional checks for parallel transformers prior to commissioning. | CO1 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Classify various types of bus-bars. Elaborate on the ratings to be specified and materials used for the bus-bars. | CO2 | 10 |
|  | b. | State the various tests necessary on busbars. | CO2 | 10 |