Reg.No. ____________

End Semester Examination – April / May– 2018

| Code : | 15EE2023 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | SUBSTATION DESIGN | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. |  | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Draw the Single Line Diagram of a generating substation having the following main equipments: i) Alternators: Five, 100MW, 11kV, 3F, Y connected, 50Hz ii) Step-up transformers: Five, 100MVA, 11/220kV,D/Y,3F,50Hz iii) Bus: 220kV-Double bus with a bus coupler iv) Outgoing lines: Five, 220kV v) Station auxiliary transformers: Two, 5MVA, 11kV/400V,D/Y,3F,50 Hz Show the positions of CTs, PTs, isolating switches, lightning arresters, circuit breakers. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. |  | Describe in detail the Design, Construction, and Commissioning Process with flow diagram of Establishment of a new substation. | CO1 | 20 |
| 3. |  | Show and Describe the five voltages a person can be exposed in a substation. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Determine the maximum grid current that will produce the greatest GPR and the largest local surface potential gradients in and around the substation area. | CO2 | 20 |
| 5. |  | Explain the Two classical design methods have historically been employed to protect substations from direct lightning strokes. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Express the Design Steps Involved in Current Monitoring Transformer with dc Output. | CO2 | 20 |
| 7. |  | Discuss about Components of a SCADA System based on Traditional SCADA system topology, Networked SCADA communications. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Include the essential elements of SCADA Communication Requirements to meet the SCADA Functional Requirements. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | With Control Flow Diagram - Describe Server-based substation control system architecture, Utility communication and security architecture with smart substation. | CO3 | 20 |