Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL ELECTRONICS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the input and output characteristics in common base configuration. | CO3 | 12 |
|  | b. | Briefly explain the operation and characteristics of photodiode and LED. | CO2 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | Briefly explain BJT and its characteristics. | CO2 | 10 |
|  | b. | Narrate how to amplify a Bio-signal using BJT and Mentions the issues while designing the circuit. | CO1 | 10 |
| 3. | a. | Explain the electrical activity associated with one contraction in a Muscle and EOG. | CO3 | 10 |
|  | b. | Explain about the principles of measurement for bioelectrical impedance. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Summarise the points in Voltage Regulator with neat circuit diagram. | CO2 | 10 |
|  | b. | Discuss the overview importance of biomedical Instruments. | CO3 | 10 |
| 5. | a. | Explain drain characteristics of a MOSFET. | CO2 | 10 |
|  | b. | Discuss the overview importance and the working principle of Opto-coupler for medical field. | CO1 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain in detail about the half wave rectifier with neat block diagram. | CO2 | 10 |
|  | b. | Write short note on Power MOSFETs with medical instrument applications. | CO1 | 10 |
| 7. | a. | Explain the construction and internal operation of JFET. | CO3 | 10 |
|  | b. | Describe the working of Depletion type MOSFET with neat sketch. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Draw the equivalent circuit of UJT and Explain. | CO3 | 10 |
|  | b. | Sketch the diagram of Bio-FET and Give the details about types of FET. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss in detail about the Colpitts oscillator circuit. | CO3 | 10 |
|  | b. | Explain the concepts involved in RC oscillators. | CO3 | 10 |