Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 15EI2003 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | BIOMEDICAL SENSORS AND TRANSDUCERS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Justify the need of strain gauge in measuring bio-medical parameters with examples | CO3 | 10 |
|  | b. | Describe the working principle of piezoelectric transducer with neat diagrams and list its Applications. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Exemplify in detail how physical signals are acquired from human body and explain the instrumentation system involved in it. | CO2 | 10 |
|  | b. | Discuss in detail about the working of inductive sensor with medical Applications. | CO3 | 10 |
| 3. | a. | Describe the working of resistive potentiometers with biomedical applications. | CO3 | 10 |
|  | b. | Explain in detail about the measurement of Intracranial pressure with sensors along with flow chart | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss the measurement of blood flow using ultrasound Doppler effect. | CO3 | 10 |
|  | b. | An LVDT has an output of 6V RMS when the displacement is 0.4 x 10-3 mm. Determine the sensitivity of this instrument in V / mm. A 10 V voltmeter with 100 scale divisions is used to read the output. Two tenths of a division can be estimated with ease. Determine the resolution of the voltmeter. | CO2 | 10 |
| 5. | a. | Explain the characteristics of the temperature sensor that abides with the law of intermediate temperature. | CO3 | 10 |
|  | b. | With a neat sketch, discuss the thermistor working principle with its applications and advantages. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Discuss in detail about mechanoreceptors types with neat sketch. | CO1 | 10 |
|  | b. | Explain in detail about the optical measurement with a general block diagram. | CO1 | 10 |
| 7. | a. | Summarize the working of central Chemoreceptors and how it responds to pH, PCO2& PO2. | CO1 | 10 |
|  | b. | Human body signals are measured with thermal and quantum sensors. Comprehend the same. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | How are robots replacing the new generation automation? Illustrate with example. | CO2 | 10 |
|  | b. | Explain in detail about the thermoreceptor types and its thermal sensation pathways. | CO1 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Illustrate with neat diagrams the working of PCO2 electrode and PO2 electrode measuring system. | CO1 | 12 |
|  | b. | Explain in detail about the pH electrode with examples of arterial blood gases in different clinical situations. | CO1 | 8 |