Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2003 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BIOMEDICAL SENSORS AND TRANSDUCERS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain in detail about the working of Potentiometer with neat sketch. | CO3 | 10 |
|  | b. | # Explain the working of an Eye with various parts of it. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Describe in detail about the working of capacitive sensor with medical Applications. | CO3 | 10 |
|  | b. | Exemplify in detail about the generalized medical instrumentation system. | CO2 | 10 |
| 3. | a. | Describe the working principle of piezoelectric transducer with neat diagrams & applications. | CO3 | 10 |
|  | b. | Write short note on photo-emissive and photoconductive cells sensors. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Explain in detail about the Intracranial pressure with sensors used to measure and flow chart. | CO2 | 10 |
|  | b. | # Discuss the measurement of blood flow using electromagnetic principle. | CO3 | 10 |
| 5. | a. | Illustrate about the accelerometer sensor with the biomedical applications. | CO2 | 10 |
|  | b. | Explain in detail about the optical measurement with a general block diagram. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | With a neat sketch, discuss the Resistance temperature detector applications and advantages | CO3 | 10 |
|  | b. | Describe the details of fiber arrangement for the GaAs semiconductor temperature probe with a neat sketch | CO3 | 10 |
| 7. | a. | Explain in detail about the thermoreceptor types and its thermal sensation pathways. | CO1 | 10 |
|  | b. | Draw the wheatstone bridge and derive the expressions for bridge balance conditions. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain in detail about the signal transmission system in human body with relevant diagram. | CO1 | 10 |
|  | b. | Classify the mechanoreceptors, Draw and explain the Pacinian & Meissiner’s corpuscle. | CO1 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain in detail about the pH electrode with examples of arterial blood gases in different clinical situations. | CO1 | 8 |
|  | b. | Sketch the PCO2 electrode and PO2 electrode measuring system with its working principle. | CO1 | 12 |