Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2007 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL DIAGNOSTIC EQUIPMENT | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | A clinical thermometer uses thermistor for sensing the temperature. Calculate the change in resistance of thermistor, for the change in human body temperature by 0.1 deg Celsius. Given that, β=4000, Rt at 273 Kelvin is 1 Megaohms. | CO1 | 4 |
|  | b. | Mention the disadvantage of mercury thermometer. List the merits of non- invasive measurement system. | CO1 | 4 |
|  | c. | Describe the apparatus and procedure of using a digital blood pressure monitor with a detailed sketch. | CO2 | 12 |
| (OR) |  |  |  |  |
| 2. | a. | Write notes on digital clinical thermometer. Mention its merits. | CO2 | 16 |
|  | b. | List two advantages of wearable health monitoring devices. | CO3 | 4 |
| 3. | a. | Suggest a suitable device for monitoring the respiration in humans. | CO1 | 16 |
|  | b. | Calculate the cardiac output for the stroke volume of blood of a subject is 70ml and the heart rate is 80 beats per minute. | CO1 | 4 |
| (OR) |  |  |  |  |
| 4. | a. | Illustrate the methodology of recording the cardiac signals. | CO2 | 14 |
|  | b. | Detail the significance of the tread mill test. Present its merits. | CO2 | 6 |
| 5. | a. | Discuss the electrode placement and acquisition of brain signals. | CO2 | 14 |
|  | b. | Give the detailed applications of EMG based actuators. | CO2 | 6 |
| (OR) |  |  |  |  |
| 6. |  | Elaborate the working principle and component details of the Infrared Spectrophotometer with sketch. Mention its applications. | CO2 | 20 |
| 7. |  | Present the detailed description on liquid chromatography. Give its applications. | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Classify the types of endoscopy. Give detailed notes on capsule endoscopy. Present its challenges. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Give notes on pulse oximeter. Give its classifications. | CO1 | 14 |
|  | b. | With a neat sketch explain the principle of heart rate measurement. | CO3 | 6 |