Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2016 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL THERAPEUTIC EQUIPMENT | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Differentiate between Internal and External pacemaker. | CO1 | 5 |
|  | b. | Compute the energy per pulse when the pacemaker pulse width is 0.5 millisecond and pulse voltage is 3 volts: the circuit current drain is 0.5 micro amps, the heart electrode resistance is 500 ohms and the heart rate is 70 bpm. | CO1 | 5 |
|  | c. | Draw the circuit diagram of a fixed rate pacemaker and explain its working. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Justify the importance of synchronization function in a defibrillator. Draw the block diagram of the defibrillator with synchronization and explain its working. | CO1 | 10 |
|  | b. | Brief on the energy requirements for the stimulation of muscles and nerves. | CO1 | 10 |
| 3. | a. | Analyse the various types of DC defibrillator according to the waveforms employed. Explain its working in detail. | CO1 | 10 |
|  | b. | Depict the principle of heart-lung machine with a neat diagram. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Contrast between the different features of hemodialysis and peritoneal dialysis and explain its working principle | CO1 | 10 |
|  | b. | Compare the features of different types of Oxygenators. | C01 | 10 |
| 5. | a. | Elaborate on the characteristics and production of LASER. | C03 | 10 |
|  | b. | Explain the principle involved in the instrumentation part of lithotripter. | C02 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | With a neat circuit, explain the working of Ultrasonic therapy unit. | CO2 | 10 |
|  | b. | Summarize the working principle of a spinal cord stimulator. | CO2 | 10 |
| 7. |  | With a neat block diagram of a ventilator, explain how artificial breathing is provided for a patient. | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the operation of a short-wave diathermy machine with the help of a block diagram. | CO2 | 10 |
|  | b. | Elucidate the principle of heating using microwaves. Describe the working of microwave diathermy machine with the help of a block diagram. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Comprehend the working of CO2 laser with its applications in medical practice. | CO3 | 10 |
|  | b. | Analyze the precautions which should be taken while working with the lasers. | CO3 | 10 |