Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 15EI2024 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | HOSPITAL AUTOMATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Assess the role of telecommunication technology in educating patients on healthcare information. | CO1 | 10 |
|  | b. | Illustrate the applications of RFID in healthcare. | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | List the types of patient record and elaborate on the CPR system. | CO1 | 12 |
|  | b. | Illustrate the computer applications involved in caring for critically ill patients. | CO1 | 8 |
| 3. | a. | Analyse the processes involved in computer based medical record retrieval. | CO1 | 10 |
|  | b. | Explain the working of Radial Generator used in healthcare with its advantages and disadvantages. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Examine the methodologies adopted in conservation of energy. | CO2 | 10 |
|  | b. | Mention the benefits and risks of hospital surveillance system. | CO3 | 10 |
| 5. | a. | Describe the procedure to be followed for battery maintenance. | CO2 | 12 |
|  | b. | Discuss on the role of alarm in the fire detection system and summarize the features of various fire alarms. | CO2 | 8 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the emergency power testing program and its benefits. | CO2 | 10 |
|  | b. | Give an outline on the role of compressor in a hospital and describe its types. | CO2 | 10 |
| 7. | a. | Analyse the piping system and leakage test adopted in medical gas system. | CO2 | 10 |
|  | b. | Demonstrate the various sterilization procedures used in sterilizing the medical devices in a hospital. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Review the concept of heat generation and distribution for a central heating system. | CO3 | 10 |
|  | b. | Describe the fire protection system adopted in the control room. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Identify and explain the various types of fire. | CO2 | 10 |
|  | b. | Mention the design requirements for fire safety. | CO2 | 10 |