Reg.No. ____________

End Semester Examination – April/May – 2018

| # Code : | # 15EI2025 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL EQUIPMENT TROUBLESHOOTING AND MAINTENANCE | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe the electrical safety standards has to be followed when a biomedical equipment is under troubleshooting. | CO1 | 10 |
|  | b. | Discuss the information from the service department to troubleshoot and repair a medical equipment. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the steps involved in the troubleshooting of SMPS. | CO1 | 10 |
|  | b. | Explain the steps involved in the troubleshooting of IC regulated power supply. | CO3 | 10 |
| 3. | a. | Discuss the following subsystems of a digital storage oscilloscope(DSO). i. Time base system ii. Vertical system iii. Triggering system iv. Measurement system v. Display system | CO2 | 10 |
|  | b. | Explain the importance of following electrical concepts, i. Cable Insulation Testing. ii. Equipment Shielding and Guarding. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | List the possible causes of Ultrasound machine. | CO3 | 10 |
|  | b. | What are the types of shielding in the cable? Describe the concept of any one in detail? | CO2 | 10 |
| 5. | a. | Define loading effect. Examine the effect of R,L,C in a measuring probe. | CO1 | 10 |
|  | b. | Examine the application of analog and digital probe system in the medical field. | CO1 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | What are the functional blocks of a dialyzer machine? Record the duty of syringe. | CO3 | 10 |
|  | b. | Identify the major faults which may occur with patient monitoring system and summarize the solution. | CO3 | 10 |
| 7. | a. | Examine the procedure of connecting the ventilator Machine with a patient. | CO3 | 10 |
|  | b. | List the possible faults of an ECG recorder and discuss the solution. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the cardiopulmonary machine setup and identify the function SIMV mode of operation. | CO3 | 10 |
|  | b. | List the possible faults of an incubator and discuss the solution. | CO1 | 10 |
|  |  | Compulsory: |  |  |
|  |  | Evaluate the imporants of following concepts: |  |  |
| 9. | a. | Machine Annual Maintenance. | CO2 | 10 |
|  | b. | Service Contract Requeirments. | CO2 | 10 |