Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2028 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BIOMEDICAL OPTICS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | List any two applications of optics in the field of medicine. | CO3 | 3 |
|  | b. | Define polarization. | CO1 | 3 |
|  | c. | Paraphrase OD of an attenuating medium. . | CO1 | 4 |
|  | d. | Comment on cellular structures that act as scatters in biological tissue. | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Classify the EM spectrum on the basis of frequency and wavelength. | CO2 | 12 |
|  | b. | Analyse the behaviour of light propagating in to the tissues and its effects. | CO1 | 8 |
| 3. | a. | Write short notes on photo physical process of refraction and significance of index of refraction | CO2 | 10 |
|  | b. | Illustrate the effect of reflection and refraction at an interface. Evaluate the effect for a biological tissue. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Describe Mie regime. | CO1 | 4 |
|  | b. | Comprehend the fundamental equation describing light propagation in RT model. | CO1 | 4 |
|  | c. | Comment on the significance of therapeutic window. | CO2 | 6 |
|  | d. | Differentiate optothermal and optoacoustic effects. | CO3 | 6 |
| 5. | a. | Explain in detail optical fibre and its importance in medical optics. | CO3 | 12 |
|  | b. | Describe in brief various spectrometers for different techniques. | CO1 | 8 |
| (OR) |  |  |  |  |
| 6. | a. | Expand CCD. | CO2 | 5 |
|  | b. | Define excitation. | CO2 | 5 |
|  | c. | List the various advantages of lasers. | CO2 | 5 |
|  | d. | Differentiate prism and grating monochromators. | CO2 | 5 |
| 7. | a. | Illustrate and compare on the different instrumental setups for various spectrometer techniques. | CO3 | 10 |
|  | b. | Explain in detail various detectors and their significance. | CO1 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Differentiate photochemical and photomechanical interactions in dermatology. | CO2 | 6 |
|  | b. | Discuss the clinical applications of lasers in dermatology. | CO1 | 6 |
|  | c. | Analyse the applications of laser in photodynamic therapy and thermotherapy. | CO2 | 8 |
|  |  | Compulsory: |  |  |
| 9. | a. | Comment on the invitro clinical diagnostic instrumentation for medical imaging. | CO3 | 10 |
|  | b. | Evaluate the biomedical applications of Fluorescent spectroscopy. | CO2 | 10 |