Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2029 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # PATIENT AND DEVICE SAFETY | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe the effect of reliability in medical devices. | CO1 | 10 |
|  | b. | Comment on the significance of failure testing and documentation goals. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Evaluate the different types of failures in medical devices. | CO3 | 15 |
|  | b. | Analyse device specific safety goals with a case study. | CO1 | 5 |
| 3. | a. | Define the terms risk, harm and hazard. | CO1 | 6 |
|  | b. | Illustrate with a neat sketch the product life cycle and its role in risk assessment. | CO3 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | Paraphrase body resistance and electric voltages. | CO3 | 5 |
|  | b. | Comment on three column safety concept in medical technology. | CO2 | 10 |
|  | c. | Almost no other safety measure is so trappy and misconceived than applying the safety class protective earthings. Justify the statement. | CO2 | 5 |
| 5. | a. | Case Study- Breakdown of ECG recorder a risk and a harm. | CO3 | 12 |
|  | b. | Sketch the equivalent circuit for whole body resistance. | CO3 | 4 |
|  | c. | Summarise the effect of Interference by radiofrequency electromagnetic fields. | CO1 | 4 |
| (OR) |  |  |  |  |
| 6. | a. | Describe the four features that explain the concept of fibrillation. | CO2 | 10 |
|  | b. | Define heart current factor. | CO3 | 5 |
|  | c. | Comment on electrostatic discharges. | CO1 | 5 |
| 7. | a. | Describe the effect of alternating electric currents and the various stages of excitation. | CO2 | 10 |
|  | b. | Define the standard condition to operate electro medical devices. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Evaluate the effect of human factors in design control. | CO2 | 10 |
|  | b. | Analyse the role of Institutional review board in safety. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Comment on Medical Device directives and its importance in safety. | CO1 | 8 |
|  | b. | Explain in brief the Investigational Device Exemptions. | CO3 | 12 |