Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 15EI2030 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ICU AND OPERATION THEATRE EQUIPMENT | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Illustrate the sterilization equipments used in operating rooms. | CO2 | 10 |
|  | b. | Furnish the applications of suction apparatus. | CO1 | 5 |
|  | c. | Reveal few safety measures toeliminate hazards in OT rooms. | CO3 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate the applications of closed loop drug delivery systems. | CO1 | 10 |
|  | b. | Present the design parameters of the syringe pumps. | CO2 | 5 |
|  | c. | Identify the applications of implantable medical instrument. | CO2 | 5 |
| 3. | a. | Elaborate the methodology of hemodialyser. | CO1 | 10 |
|  | b. | Present the merits of the heart lung machine. | CO3 | 5 |
|  | c. | Mention the applications of incubators. | CO2 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss the significance of peristaltic pumps. | CO1 | 10 |
|  | b. | Present the applications of surgical diathermy. | CO2 | 10 |
| 5. | a. | Discuss the working principles of anesthesia machine. | CO2 | 15 |
|  | b. | Detail the parameters monitored during an surgical procedure. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Elaborate the applications of oxygen monitoring system. | CO1 | 10 |
|  | b. | Discuss the working of closed loop medical gas station. | CO1 | 10 |
| 7. | a. | Compare the merits of laser type and ultrasonic type lithotripsy. | CO2 | 10 |
|  | b. | State the applications and testing procedure of lithotripsy. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Develop the model of telemedicine for rural applications. | CO3 | 10 |
|  | b. | Suggest the merits and challenges of health monitoring in rural areas. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Evaluate the modes of operating the ventilator machine. Give its applications. | CO3 | 10 |
|  | b. | Design the methodology of air supply system in human ventilator. | CO2 | 10 |