Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 15EI2036 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | RADIATION AND NUCLEAR MEDICINE | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the Bremstralung spectrum in the production of X-rays. | CO1 | 12 |
|  | b. | Compare and contrast the relationship between the filament current and tube current that flows in the x-ray tube. | CO1 | 4 |
|  | c. | Mention any four limitations of conventional radiography. | CO1 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss on the different types of modern x-ray tubes and its applications. | CO1 | 9 |
|  | b. | Write short notes on different types of X-rays. | CO1 | 6 |
|  | c. | Distinguish between Bucky Grid and Conventional Grid. | CO1 | 5 |
| 3. | a. | Explain the construction and working operation of Image intensifier with necessary diagrams. | CO1 | 12 |
|  | b. | Describe the importance of a collimator in a X-ray machine and explain its types. | CO1 | 8 |
| (OR) |  |  |  |  |
| 4. | a. | Analyse the role of charge coupled device detector in digital radiography. | CO1 | 10 |
|  | b. | State and explain the concept of real time imaging using fluoroscopy. | CO1 | 6 |
|  | c. | Differentiate between Pixel and Voxel. | CO1 | 4 |
| 5. | a. | Show the working principle and the system components of a CT scanner. | CO2 | 10 |
|  | b. | Illustrate the direct and indirect effects of radiation with pictorial representation. | CO2 | 6 |
|  | c. | Assess the role of Electromagnetic radiation in Diagnostic Imaging. | CO1 | 4 |
| (OR) |  |  |  |  |
| 6. | a. | Describe the working of semiconductor detector in forward bias mode and reverse bias mode when it is exposed to ionizing radiation. | CO2 | 12 |
|  | b. | Demonstrate the sequence of events during x-ray exposure and also explain the photostimulable phosphor in digital radiography. | CO2 | 8 |
| 7. | a. | Discuss on Single Photon Emission Computed Tomography. | CO2 | 10 |
|  | b. | Explain the principle and working of Ionization chamber and list out its advantages & disadvantages. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss the principle, system components , detector system and the electronics involved in the working of a Scintillation Camera. | CO3 | 12 |
|  | b. | Determine the energy of gamma radiation using Pulse Height Analyser. | CO3 | 8 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the procedure, radiation sources and treatment planning in Brachy Therapy for the treatment of cancer. | CO3 | 10 |
|  | b. | Discuss on the maximum permissible dose limits recommended by NCRP and ICRP. | CO3 | 10 |