Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 16CE2001 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INTELLIGENT BUILDINGS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Advanced telecommunication system how does it help Intelligent building –explain? | CO1 | 4 |
|  | b. | Discuss on technology system and evolution of intelligent? | CO1 | 12 |
|  | c. | Analyze the cost analysis of intelligent building? | CO3 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Enumerate on building management system and building automation system? | CO3 | 12 |
|  | b. | Give an account of smart materials and its application? | CO1 | 8 |
| 3. | a. | Write on the holistic approach to energy conservation in buildings? | CO3 | 8 |
|  | b. | Classify the air conditioning system and explain them in detail? | CO2 | 12 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the term human comfort and also give the factors affecting comfort air conditioning. | CO2 | 8 |
|  | b. | Prepare a neat sketch explain the different types of earthling? | CO3 | 12 |
| 5. | a. | Discuss on the fire safety installations used in intelligent buildings? | CO3 | 15 |
|  | b. | Write the special features required for physically handicapped and elderly people. | CO3 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Describe any three fire escape elements provided when fire occurs? | CO1 | 8 |
|  | b. | Write notes on : i.water storage and pumps ii. dry and wet riser ‘ iii. automatic sprinkler | CO3 | 12 |
| 7. | a. | Construct a neat sketch and explain digital CCTV systems? | CO2 | 10 |
|  | b. | Explain on various intrusion detection systems used in intelligent building? | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the basic design of a PLC and its areas of application? | CO3 | 10 |
|  | b. | Enumerate on structural health monitoring for intelligent buildings? | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe the microprocessor based operation explain the system hardware? | CO3 | 10 |
|  | b. | Explain how fiber optics works in communication systems? | CO3 | 10 |