Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 16EE1001 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ELECTRICITY FOR ENGINEERS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | India is poised to generate 100 GW of solar power by 2022. Outline the principle and working of a solar power plant. | CO3 | 10 |
|  | b. | With a neat diagram describe the wind energy conversion system. | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Describe with a neat diagram the transmission and distribution system. Highlight on the electrical components in a substation. | CO3 | 10 |
|  | b. | Summarize the features of a Smart Grid. | CO3 | 10 |
| 3. | a. | With the invasion of renewable energy sources, the significance of energy storage has picked up. Write a note on the various types of batteries available and their operation. Name the leading battery manufacturing industry in India. | CO3 | 10 |
|  | b. | Present the working principle and operation of home UPS and stabilizers. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Outline the working principle of CFL and LED lamps. Compare and contrast their merits and demerits. Reason out why they consume lesser energy than incandescent bulbs. | CO3 | 10 |
|  | b. | “Energy Conserved is Life Preserved!”. List few energy saving methods and point out the significance of BEE and star rating of electrical appliances. | CO3 | 10 |
| 5. | a. | Assess how the invasion of robotics and automation has revolutionized the industrial and medical applications. | CO1 | 10 |
|  | b. | ‘Don’t take chances with electricity!’. Formulate the steps that are essential to ensure electrical safety. Highlight on the necessity of earthing. | CO1 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Identify the motor that is used in household appliances like ceiling fans and refrigerators. Detail its construction and working principle. | CO1 | 10 |
|  | b. | Predict and highlight the technological advancements that would be available in a Smart Home. | CO1 | 10 |
| 7. | a. | Outline the basic principle behind gyro and accelerometers in space crafts. | CO2 | 10 |
|  | b. | Summarize the instrumentation technology that powers altitude and pressure measurements in aircrafts. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Illustrate with neat diagram any TWO biomedical instruments. | CO2 | 10 |
|  | b. | Point out in detail how instrumentation technology has revolutionized the agricultural industry. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe with a neat diagram the construction and working of a DC motor. | CO1 | 10 |
|  | b. | SIAM, the Society of Indian Automobile Manufacturers have stated that electric vehicles will constitute 40% of overall new car sales by 2030. Highlight on the growing significance and application of electricity in transportation. | CO1 | 10 |