Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 16NT3001 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # NANOMATERIALS CHARACTERIZATION METHODS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1 | a | Explain the basic principle, instrumentation, procedure and indexing of XRD in detail with a neat diagram. | CO2 | 10 |
|  | b | How the composition of the materials can be intereped using XPS. | CO2 | 10 |
| (OR) |  |  |  |  |
| 2 | a | Discuss the working principle of Raman spectroscopy. | CO1 | 10 |
|  | b. | What are the different ion sourses used in FIB? | CO1 | 5 |
|  | c. | List the various applications of FIB. | CO1 | 5 |
| 3 | a | Briefly explain the significance of TGA. | CO1 | 10 |
|  | b | Discuss in detail the basics, instrumentation and various factors involved in DTA. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4 | a | Discuss in detail the instrumentation of UV- visible spectroscopy. | CO2 | 10 |
|  | b | What are the different electronic transistions in UV- visible spectroscopy? | CO2 | 10 |
| 5 | a | Explain the instrumentation and application of RHEED. | CO1 | 10 |
|  | b | Schematically explain the principle, instrumentation and advantages of FTIR. | CO1 | 10 |
| (OR) |  |  |  |  |
| 6 | a | Explain the instrumentation and application of LEED. | CO1 | 10 |
|  | b | Which technique is used to study the mechanical properties of the material? | CO2 | 10 |
| 7 | a | Which microscope is used to obtain internal details of the sample by allowing electrons to pass through it and explain its instrumentation? | CO3 | 10 |
|  | b | Draw a flow chart representing the different types of microscopes. | CO3 | 5 |
|  | c | Difference between SEM and TEM. | CO3 | 5 |
|  |  | (OR) |  |  |
| 8 | a. | Discuss the working mechanism of the microscope which works on principle of “Quantum mechanical tunnel-effect of electron”. | CO3 | 10 |
|  | b | Explain the working principle of SEM. | CO2 | 10 |
|  | Compulsory: |  |  |  |
| 9. |  | Discuss in detail the various imagin modes of SEM. | CO3 | 20 |