Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17BM3004 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL SENSORS AND MEMS TECHNOLOGY | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions |  | Course Outcome | Marks |
| --- | --- | --- | --- | --- | --- |
| 1. | a. | Illustrate the working principle of optical sensor used in medical field. |  | CO1 | 10 |
|  | b. | Identify the applications of optical sensor in determining the blood flow. |  | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 2. | a. |  | Suggest a suitable principle of determining blood flow measurements. | CO3 | 10 |
|  | b. |  | Indicate the applications of non invasive flow measurements. | CO2 | 10 |
| 3. | a. |  | Propose a method of checking foot ulcers. Explain any one method. | CO1 | 10 |
|  | b. |  | Identify the challenges in medical diagnosis of diabetic foot. | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 4. | a. |  | Develop a health monitoring wrist band with medical applications. | CO3 | 15 |
|  | b. |  | State the importance of monitoring such parameters continuously. | CO3 | 5 |
| 5. | a. |  | Classify the methods and steps involved in micro manufacturing. | CO3 | 10 |
|  | b. |  | Evaluate the merits and demerits of micro systems and microelectronic systems. | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 6. | a. |  | Design the circuit for digital blood pressure monitor for clinical applications. List out the design parameters considered. | CO1 | 15 |
|  | b. |  | Illustrate the principle and analyse the applications of motion sensor. | CO3 | 5 |
| 7. | a. |  | Compare isotropic and anisotropic etching. Analyse its significance in design. | CO2 | 10 |
|  | b. |  | Indicate the applications of microsystem in medical field. | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 8. | a. |  | Classify the methods of foot force measurements. Explain briefly about each method. | CO3 | 10 |
|  | b. |  | Evaluate the measurement system based on following criteria: - Accuracy of medical diagnosis - Physician convenience for using the procedure - Cost Vs Affordability | CO2 | 10 |
|  |  |  | Compulsory: |  |  |
| 9. | a. |  | Design the micro pressure sensor and detail its fabrication methods. Present its applications. | CO3 | 15 |
|  | b. |  | Evaluate the silicon as MEMS material based on its structure and properties. | CO2 | 5 |