Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17BM3008 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # EMBEDDED SYSTEM AND IOT IN HEALTHCARE | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. |  | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- | --- |
| 1. | a. |  | Outline the implementational aspects of TCP/IP Protocol. | CO1 | 10 |
|  | b. |  | Summarize the concepts of HTML and XML standards and their applications. | CO1 | 10 |
| (OR) |  |  |  |  |  |
| 2. | a. |  | Bring out the operational differences of the hardware components (Hub, Bridge, Switch and Router) used in the LAN. | CO2 | 10 |
|  | b. |  | Explain the concept and bring out the differences in the Two-Tier and Three-Tier Database Server Architecture. | CO1 | 10 |
| 3. | a. |  | Explain the various protocols used in IoT bringing out the applications of each one. | CO2 | 10 |
|  | b. |  | Draw the block diagram of a typical Embedded system and bring out the features required to meet out the characteristic requirements of IoT. | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 4. | a. |  | Outline the concepts of - Multi-Hop Routing. - Adhoc Networks. | CO2 | 10 |
|  | b. |  | Explain the evolution of IoT Technology and its trend. | CO2 | 10 |
| 5. | a. |  | Draw and explain the block diagram of a typical Embedded system based physiological monitoring system. | CO2 | 10 |
|  | b. |  | Enumerate the issues faced by the healthcare application when using IoT. | CO2 | 10 |
| (OR) |  |  |  |  |  |
| 6. | a. |  | Explain the typical block diagram and explain its constituent parts of a Microcontroller used for IoT solutions. | CO3 | 10 |
|  | b. |  | Outline the importance of A/D Converter in IoT. | CO3 | 10 |
| 7. | a. |  | Illustrate the development of Digital health Technology. | CO4 | 10 |
|  | b. |  | Identify the various social issues faced by digital health technology. | CO5 | 10 |
| (OR) |  |  |  |  |  |
| 8. | a. |  | Analyze the application of IoT Technology in healthcare. | CO4 | 10 |
|  | b. |  | Indicate the ethical issues faced in digital health implementation. | CO5 | 10 |
|  |  |  | Compulsory: |  |  |
| 9. | a. |  | Outline the concepts of - Wearable IoT Device’s characteristics. - Power aware protocols for e-health applications. | CO5 CO5 | 5 5 |
|  | b. |  | Identify the future challenges in IoT based healthcare. | CO6 | 10 |