Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17CE3054 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # WATER AND WASTEWATER TREATMENT | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the various methods of detection and prevention of wastage of water. Enumerate the causes of such wastage. | CO1 | 10 |
|  | b. | Population of a town as obtained from the census reports is as follows: YEAR; 1950; 1960; 1970; 1980; 1990; 2000; 2010. POPULATION; 24831; 25293; 25423; 27263; 38284; 49909; 67105. Estimate the population expected by 2020 by Arithmetical Increase method, Geometrical Increase method and Incremental Increase method. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | State and explain the factors affecting the per capita consumption. | CO1 | 5 |
|  | b. | Sketch the layout of water treatment plant, label and explain its different components. | CO2 | 15 |
| 3. | a. | Write a short note on water borne diseases. | CO2 | 5 |
|  | b. | Paraphrase in detail about the layouts of distribution system with the neat sketch along with the advantages and disadvantages of each. | CO2 | 15 |
| (OR) |  |  |  |  |
| 4. | a. | Design a suitable primary rectangular sedimentation tank for treating the sewage from a city, provided with an assured public water supply system, with a max. daily demand of 14 million litres per day. Assume suitable values of detention period and velocity of flow in the tank. Make any other assumptions wherever needed. | CO1 | 10 |
|  | b. | Classify the different types of chlorination. Sketch the break point of chlorination curve and explain different sections. | CO3 | 10 |
| 5. |  | Explain lime-soda and zeolite processes in softening the water supplies. | CO6 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | The BOD5 of a waste water is 150 mg/l at 20oC. The K value is known to be 0.23 per day. Estimate the BOD8, if the test was conducted at 15oC. | CO4 | 10 |
|  | b. | Summarize in detail about the wastewater treatment through root zone technology. | CO6 | 10 |
| 7. | a. | Recall the methods available in treating the sewage using attached growth process. Explain the working principle of RBC. | CO5 | 10 |
|  | b. | Explain the basic operations involved in the activated sludge process with the help of a flow diagram. Also state the advantages and disadvantages of ASP. | CO5 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Summarize the purpose of stabilization pond and explain in detail about the classification and mechanism of purification with the help of neat sketch. | CO5 | 10 |
|  | b. | Explain self-purification of streams and indicate the role of sunlight in the purification process. | CO4 | 10 |
|  |  | Compulsory: |  |  |
| 9. |  | Point out the two conditions that must be satisfied to analyze complex pipe network. Calculate the head losses and the corrected flows in the various pipes of a distribution network. Use Hardy Cross method and compute the corrected flows after two corrections. | CO1 | 20 |