Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : | 17EE3012 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | ENERGY MANAGEMENT AND AUDIT | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | If you are developing a new financial model for an industry, list down the base line parameters to be chosen. | CO5 | 5 |
|  | b. | With help of an example, explain the energy management concepts and also discuss the roles and responsibilities of energy managers. | CO1 | 15 |
| (OR) |  |  |  |  |
| 2. | a. | A three phase, 10 kW motor has the name plate details as 415 V, 18.2 amps and 0.9 PF. Actual input measurement shows 415 V, 12 amps and 0.7 PF which was measured with power analyzer during motor running. Calculate the motor loading. | CO3 | 10 |
|  | b. | Discuss an energy conservation opportunities in agricultural and lighting sector. | CO4 | 10 |
| 3. | a. | With help of table, elucidate ten steps involved in the detailed energy audit. | CO2 | 10 |
|  | b. | Discuss the need for framing an energy policy in an industry. If you are owner of that company, list the procedures that you follow to frame the energy policy. | CO6 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the steps involved in the force field analysis. Taking your own industry as an example, list down the positive and negative forces. | CO3 | 14 |
|  | b. | List down the difference between internal and external benchmarking. | CO6 | 6 |
| 5. | a. | If you are going to do the energy audit in sugarcane industry, list down the instruments that you carry and also give the justification of those instruments needed for that particular industry. | CO2 | 15 |
|  | b. | Bring down the significance of knowing the energy costs. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Elucidate the essential elements of a monitoring and targeting system. | CO6 | 10 |
|  | b. | As an energy manger, how to relate the energy consumption and production? | CO6 | 10 |
| 7. | a. | With an example, explicate how a CUSUM chart is drawn? | CO6 | 8 |
|  | b. | Discuss the concept performance contracting and also list down the role of ESCOs. | CO5 | 12 |
| (OR) |  |  |  |  |
| 8. | a. | Calculate simple payback period for a boiler that cost Rs.75.00 lakhs to purchase and Rs.5 lakhs per year on an average to operate and maintain and is expected to annually save Rs.30 lakhs and also discuss the pros and cons of simple payback period. | CO1 | 10 |
|  | b. | Discuss the role of BEE in star labeling and also give the importance of labeling in domestic appliances. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Consider you have a textile company. An energy auditor suggests the replacement of old machinery to new machinery to conserve the electrical energy. Discuss the financing options to implement the suggestions given by an energy auditor. | CO2 | 10 |
|  | b. | Consider a project, which has the following cash flow stream with the cost of Capital, k, for the firm is 12%. Calculate Net Present Value (NPV) and also list the advantages of NPV over simple pay-back method. Investment; Rs. 15,00,000/-. Saving in year; Cash Flow. 1; 2,00,000. 2; 3,00,000. 3; 3,00,000. 4; 3,50,000. 5; 3,00,000. | CO5 | 10 |