Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17EE3018 | # Duration: | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # SOLAR TRACKING SYSTEMS CONTROL | # Max. marks: | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the need of a Solar Tracking System Control. | CO1 | 10 |
|  | b. | Write about the concept of Solar Angles. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Consider a unit feedback closed loop control system with a process transfer function Gp = 20s2+5s+3. The system is to operate under PID control in a series implementation. Determine the closed loop transfer function Gcl = YsRs in terms of Kp, Ti and Td. | CO2 | 8 |
|  | b. | Describe the implementation of a PID Controller for a Single Axis Tracking system. | CO2 | 12 |
| 3. | a. | Develop a block diagram model for simulating the behavior of a DC Motor. | CO3 | 10 |
|  | b. | Develop a block diagram model for simulating the behavior of a Photovoltaic cell. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. |  | Explain the design process in the Embedded System. | CO4 | 20 |
| 5. | a. | Discuss about the different types of Solar Tracking System and various components of a tracking system. | CO4 | 15 |
|  | b. | Compare and contrast the performance of a Single Axis Solar Tracker with Dual Axis Solar Tracker. | CO4 | 5 |
| (OR) |  |  |  |  |
| 6. |  | Explain about the Cascade control system of a high precision solar tracker system. | CO6 | 20 |
| 7. |  | Develop a IMC-PID based controller for a Dual Axis Solar Tracker. | CO6 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Write a Short notes about the following control techniques i) Internal Model Control (IMC) ii) Iterative Learning Control iii) Repetitive Control | CO5 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Explain in detail about the intelligent solar tracking system with the necessary diagrams. | CO6 | 20 |