Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17EI2028 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name: | # SCADA SYSTEMS DESIGN | # Max. Marks: | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | List the elements of a SCADA system and explain in detail. | CO1 | 12 |
|  | b. | Elaborate on the hardware and software used for SCADA systems. | CO1 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | With help of a block diagram explain OSI model and its applicable layers for the SCADA systems. | CO1 | 14 |
|  | b. | Write the application of SCADA in various fields. | CO2 | 6 |
| 3. |  | What is RTU? Sketch the block diagram of RTU hardware and explain in detail. | CO3 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss about the various communication architecture applicable for SCADA systems. | CO2 | 10 |
|  | b. | Explain the asynchronous operation of RS232 with required diagrams. | CO1 | 10 |
| 5. |  | Grade the different generations of SCADA system architectures with neat diagrams. | CO3 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Explain the architecture of IEC 61850.Also illustrate an application of the same. | CO4 | 20 |
| 7. | a. | Explain the operation of the CSMA/CD protocol. | CO5 | 10 |
|  | b. | Summarize the different physical medium used for IEEE802.3. | CO5 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Draw the architecture of profibus and explain in detail. | CO6 | 15 |
|  | b. | Give 4 main differences between Foundation Fieldbus and Profibus. | CO6 | 5 |
|  |  | Compulsory: |  |  |
| 9. |  | Give a case study on usage of SCADA in transmission and Distribution sector. | CO5 | 20 |