Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17EI2030 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # SMART SENSOR TECHNOLOGY | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain in detail about the functional blocks of general sensing system. | CO1 | 8 |
|  | b. | Outline the steps of development towards increased integration. | CO1 | 6 |
|  | c. | Describe the effect of temperature on piezoresistive pressure sensor output. | CO2 | 6 |
| (OR) |  |  |  |  |
| 2. |  | Elaborate the different types of wafer bonding for producing sensing structures. | CO1 | 20 |
| 3. | a. | Discuss the various components involved for interfacing sensor with microcontroller. | CO2 | 12 |
|  | b. | Write short notes on monolithic sensor interface design. | CO2 | 8 |
| (OR) |  |  |  |  |
| 4. | a. | Prioritize the features of digital signal processor for real time signal processing. | CO2 | 6 |
|  | b. | Sketch the architecture of 24 bit DSP and highlight the functions of each components. | CO2 | 14 |
| 5. | a. | Write the necessity of different layers of ISO Open Systems Interconnection (OSI) model. | CO3 | 10 |
|  | b. | Sketch the block diagram of MCU with integrated CAN and highlight the functions of each components. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. |  | Discuss about the following RF sensing devices: (a) Surface Acoustical Wave Devices. (b) RFID. | CO6 | 20 |
| 7. | a. | List the key factor that affects the sensor package. | CO4 | 6 |
|  | b. | Discuss the features of various hybridpackaging technology for sensor development. | CO5 | 14 |
| (OR) |  |  |  |  |
| 8. |  | Describe the role of different communication standards for smart sensors and systems. | CO5 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Analyze the industrial application of pressure sensors which involves monitoring of gases and their partial pressure. Select any known embedded processor of your interest. Support your hardware design with a block diagram and the software development with a flow diagram. | CO6 | 20 |