Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 17EI3013 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INDUSTRIAL AUTOMATION | # Max. Marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What is automation? Explain generalized automation, production systems and their classification. | CO1 | 10 |
|  | b. | List and explain the benefits of the Automation in a plant. | CO2 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the role of each layer in “Automation Pyramid”. | CO1 | 10 |
|  | b. | What are the discrete and continuous process variables? Draw their nature over a period compare between them. | CO2 | 10 |
| 3. | a. | Discuss the characteristics and applications of PI controller. | CO4 | 8 |
|  | b. | Plot the response of a PI controller for the error graph shown below Given Kp =5 , Ki = 1.S-1 , P(0)=2. | CO4 | 8 |
|  | c. | Compare and contrast the difference between feed forward and feedback control. | CO4 | 4 |
| (OR) |  |  |  |  |
| 4. | a. | Explain process reaction curve method and damped oscillation method. | CO4 | 15 |
|  | b. | Explain the characteristics of ON-OFF controller with graph. | CO4 | 5 |
| 5. |  | Describe control valve characteristics. Explain different types of valves with neat diagram. | CO3 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Describe how ultrasonic sensors provide a continuous level measurement. | CO3 | 8 |
|  | b. | Explain any two types of hygrometers used for Humidity measurement, with neat sketch. | CO3 | 12 |
| 7. | a. | Explain Architecture and block diagram of PLC. | CO5 | 10 |
|  | b. | Explain about PLC installation, its troubleshooting procedures and maintenance procedures. | CO5 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Describe the operation of the Master Control Relay and SKIP function and its Application. | CO5 | 10 |
|  | b. | Explain elements of ladder diagram and its application to control the operation of tank for following steps: i) When start PB is pressed the whole system enable. ii) Fill the tank up to middle level using valve 1 and Fill remaining tank using valve 2. iii) Drain the tank using valve V3 when tank is full and Drain PB pressed. iv) Start the heater when tank is full and stop when middle level is reached. | CO5 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | What is IOT? List advantage of IOT in industry. | CO6 | 4 |
|  | b. | Write short note on MMI. | CO6 | 4 |
|  | c. | Give the various communication standards used in industries explain any one in detail with diagram. | CO6 | 12 |