Reg.No. _____________

End Semester Examination – Nov/Dec – 2018

| Code : | 17CH1001 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INSTRUMENTAL TECHNIQUES IN CHEMISTRY | Max. marks : | 100 |

| Q. No. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- |
| PART-A(20X1=20 MARKS) |  |  |  |
| 1. | Define the term standard solution. | CO1 | 1 |
| 2. | The equivalent weight of NaOH and oxalic acid is _________. | CO2 | 1 |
| 3. | Define the term end point. | CO1 | 1 |
| 4. | Give an example for acidic buffer solution. | CO3 | 1 |
| 5. | What do you mean by reference electrode? Give an example. | CO4 | 1 |
| 6. | How LJP is minimized? | CO5 | 1 |
| 7. | How is conductivity water prepared? | CO5 | 1 |
| 8. | Define conductance. | CO1 | 1 |
| 9. | Define the term spectroscopy. | CO1 | 1 |
| 10. | Write the principle of emission spectroscopy. | CO2 | 1 |
| 11. | What is mean by electromagnetic radiations? | CO3 | 1 |
| 12. | Give the principle of atomic absorption spectroscopy. | CO4 | 1 |
| 13. | List various types of detector systems used in HPLC. | CO4 | 1 |
| 14. | Write any two advantages of gas chromatography. | CO5 | 1 |
| 15. | What do you understand by chromatogram? | CO5 | 1 |
| 16. | What is mean by cation exchangers ? Give any two examples. | CO2 | 1 |
| 17. | Give any four hardness producing salt in drinking water? | CO3 | 1 |
| 18. | Define hardness of water. | CO1 | 1 |
| 19. | What reference material is used in DSC? | CO2 | 1 |
| 20. | What are food additives ?Give any two examples. | CO3 | 1 |

| PART B(10 X 5= 50 MARKS) (Answer any 10 from the following) |  |  |  |
| --- | --- | --- | --- |
| 21. | Distinguish between accuracy and precision. | CO1 | 5 |
| 22. | Outline the principle of a redox titration using Fe2+ and Ce4+ as an example. | CO4 | 5 |
| 23. | What is mean by Liquid Junction potential? Explain in detail. | CO5 | 5 |
| 24. | Write a short note on conductometric titrations. | CO5 | 5 |
| 25. | Describe some important characteristics of electro magnetic spectrum and the absorption radiations. | CO4 | 5 |
| 26. | Can you distinguish the type of hydrogen bonding by Infra red spectroscopy? | CO5 | 5 |
| 27. | What is chromatography? How is it classified? Explain about rates of solute migration in chromatography. | CO1 | 5 |
| 28. | Describe the basic principles of HPLC. | CO3 | 5 |
| 29. | Write a short note on food analysis. | CO5 | 5 |
| 30. | What is DTA?What is the theoretical basis DTA? What are the differences between DTA and DSC? | CO5 | 5 |
| 31. | Explain the applications of Atomic absorption and emission spectroscopy. | CO5 | 5 |
| 32. | Write a brief note on potentiometric titrations. | CO4 | 5 |

| PART C(2 X 15= 30 MARKS) (Answer any 2 from the following) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 33. | a. | How can you estimate hardness of water by EDTA complexometric titration method? | CO2 | 10 |
|  | b. | What are the conditions of precipitation in gravimetric analysis? | CO4 | 5 |
| 34. | a. | Discuss the principle of Potentiometry. | CO1 | 5 |
|  | b. | Explain the principles and applications of i) IR spectroscopy ii) UV-visible spectroscopy. | CO5 | 10 |
| 35. | a. | Describe the application of ion exchange chromatography in i) softening of hardwater ii) Separation of lanthanides iii) Removal of interfering radicals in qualitative analysis. | CO5 | 7 |
|  | b. | Discuss the i) principle of TG and DSC. ii) Analysis of water. | CO4 | 8 |