Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 14CE2011 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | WATER RESOURCES ENGINEERING | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | List out the different types of raingauges and explain any five with figure. | CO3 | 10 |
|  | b. | Elaborate orographic, frontal and convective precipitation with supporting sketches. | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Sketch and explain the different parts of a hydrograph. State the different types and uses of hydrographs. Also, memorise unit hydrograph. | CO3 | 10 |
|  | b. | A catchment has 6 rain gauge stations. In a year, the annual rainfall recorded by rain gauges are as follows. Station; A; B; C; D; E; F. Rainfall (cm); 82.6; 102.9; 180.3; 110.3; 98.8; 136.7. For a 10% error in the estimation of the mean rainfall, calculate the optimum number of stations in the catchment. | CO3 | 10 |
| 3. | a. | Critique on - Pumping Tests. - Recuperation Test. Draw the necessary sketches. | CO1 | 10 |
|  | b. | Summarise various properties of an aquifer. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Classify the aquifers depending upon their encasement. | CO2 | 7 |
|  | b. | During a recuperation test, the water level in an open well was depressed by pumping by 2.5m and is recuperated by an amount of 1.6m in 80 minutes. Determine the yield from a well of 3.5m diameter under a depression head of 4m. | CO2 | 7 |
|  | c. | List out the importance of water budgeting. | CO2 | 6 |
| 5. | a. | A well penetrates into an unconfined aquifer of saturated depth 150m. The discharge is 350 liter/min at 22m drawdown. Assuming equilibrium flow conditions and a homogenous aquifer, estimate the discharge at 28m drawdown. The discharge from the well where the drawdown influences are taken are not appreciable and may be taken to be equal for both cases. | CO2 | 10 |
|  | b. | Comprehend on different types of tube wells. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Point out and explain some methods for conservation of water. | CO1 | 10 |
|  | b. | List out the advantages and disadvantages of open wells. | CO1 | 10 |
| 7. | a. | With a neat sketch, paraphrase about the “Basic Components of hydro-electric projects” . | CO1 | 8 |
|  | b. | Give suggestions for solving any four water related environmental problems. | CO3 | 12 |
| (OR) |  |  |  |  |
| 8. | a. | Illustrate the different types of reservoirs. | CO1 | 8 |
|  | b. | A town has following recorded population. 1981 60000 1991 124000 2001 160000 2011 226000 Forecast the population for the year 2041 using (i) Arithmetical Increase Method. (ii) Geometrical Increase Method. (iii) Incremental Increase Method. | CO3 | 12 |
|  |  | Compulsory: |  |  |
| 9. | a. | Cite and extend the limits, sources, effects and treatment for odour in drinking water. | CO2 | 10 |
|  | b. | Compare and contrast between impulse and reaction turbines. | CO1 | 10 |