Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 14EE2028 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | BUILDING AUTOMATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the concept of intelligent building pyramid with a neat sketch in detail. | CO1 | 15 |
|  | b. | Mention the benefits of BAS. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Generalize the concept of systems based on standard lighting control protocols in detail. | CO1 | 15 |
|  | b. | Differentiate the electrical and pneumatic actuators. | CO1 | 5 |
| 3. | a. | Elaborate the operation of electromechanical energy meters in detail. | CO1 | 15 |
|  | b. | Outline the concept of voltage sag and swell. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the concept of fire extinguishing principles & its stages with a neat sketch. | CO2 | 15 |
|  | b. | List the four fuel sources and its classes used in fire. | CO2 | 5 |
| 5. | a. | Differentiate standalone access system and computer control access system. | CO2 | 15 |
|  | b. | List the fire detectors installed in buildings. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. |  | Elaborate on CCTV basics, video door phone and its special features. | CO2 | 20 |
| 7. |  | Sketch and propose a digital video management system for a commercial building. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Discuss in detail about the need, components and functions of safety system in buildings. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the HVAC system as referred to building automation. | CO3 | 15 |
|  | b. | List out the advantages of conserving energy in buildings. | CO3 | 5 |